Modified / new views for ELDAmwl
New view for mwl product
New view for VLDR product
New view(s) for “derived” products

---
Table mwlproduct_product
Hint: pre-processed files are created for the individual products as before
Limits:	* only one mwl product per hoi_configuration
* no explicit single products beside mwl product in the same	hoi_configuration to prevent parallel runs of ELDA and ELDAmwl
 (of course implicit single products are needed)
Other tables:	products
system_product
smooth_options
preproc_options

---
link to column
Products.ID
New option
in menu
Multi-wavelengths product
No usecase required

---
No channel attribution
 required
System-product connection
as for other products

---
Fill table preproc_options
This block is not needed
The info is taken from individual products

---
Fill table mwlproduct_product
link to column
create_with_hr
Selection of existing products
link to column _Product_ID
link to column
create_with_lr
calculate with
high resolution
calculate with
low resolution
mwl-product / product connections
377: Extinction only (usecase 0) at 355 nm
378: Raman backscatter (usecase 0) at 355 nm
379: lidar ratio (usecase 0) at 355 nm
329: volume depolarization ratio...
Add another connection
Selectable are all product types with
_product_types.is_in_mwl_products = True
Tests:	* only one product per wavelength and type
* each product has at least 1 “calc with ..”

---
Fill table smooth_options
smooth options
if fixed smoothing for mwl product,
-> smooth params of individual products are ignored
time and altitude resolutions for fixed smoothing
	low altitude range / (below tz)		high-altitude range / (above tz)		transition zone / (tz)
	time [s]	altitude [m]	time [s]	altitude [m]	from [m]	to [m]
high-res product	1800	150	1800	300	2000	3000
low-res product	3600	300	7200	900
link to table smooth_options
automatic smoothing
fixed smoothing

---
Fill table smooth_options
smooth options
if automatic smoothing for mwl product,
-> table below is deactivated
time and altitude resolutions for fixed smoothing
	low altitude range / (below tz)		high-altitude range / (above tz)		transition zone / (tz)
	time [s]	altitude [m]	time [s]	altitude [m]	from [m]	to [m]
high-res product	1800	150	1800	300	2000	3000
low-res product	3600	300	7200	900
automatic smoothing
fixed smoothing

---
Monte Carlo options not needed
These info is taken from individual products

---
View for VLDR product
Product type of VLDR is 15
View is same as for product types 7 and 8, but without section “depolarization backscatter options”

---
Views for “derived” products
Table ext_bsc_options
Table angstroem_exp_options
Table color_ratio_options
Table pldr_options
Hint: pre-processed files are created for the individual products as before

---
Views for “derived” products
New “derived” products:
All product types with
_product_types.is_basic_product = False
and
_product_types.is_in_mwl_products = True
Particle lidar ratio
No usecase required

---
Views for “derived” products
No channel attribution
 required
System-product connection
as for other products

---
Views for “derived” products
This block is not needed
(except for lidar ratio as long as ELDA is still active)
The info is taken from individual products

---
Fill table ext_bsc_options
link to column
_extinction_options_product_ID
Selection of existing
extinction products (_product_types.ID = 1)
bsc products (_product_types.ID = 0)
Lidar ratio options
link to column
_error_method_ID
lidar ratio
lidar ratio
link to column
min_BscRatio_for_LR
link to column
_raman_backscatter_options_product_ID

---
Fill table angstroem_exp_options
link to column
_lambda1_product_ID
Selection of existing products:
Both must have the same product type
Product type must be basic
Angström exponent options
Angström exponent options
Product at short wavelength
Product at long wavelength
link to column
_error_method_ID
Angström
exponent
lidar ratio
link to column
min_BscRatio_for_AE
link to column
_lambda2_product_ID

---
Fill table color_ratio_options
link to column
_nominator_product_ID
Selection of existing products:
Both must have the same product type
Product type must be basic
Color ratio options
Color ratio options
Nominator product
Denominator product
link to column
_error_method_ID
Color ratio
lidar ratio
link to column
min_BscRatio_for_CR
link to column
_denominator_product_ID

---
Fill table pldr_options
link to column
_vldr_product_ID
Selection of existing
vldr products (_product_types.ID = 15)
bsc products (_product_types.ID = 0 or 3)
PLDR options
PLDR options
VLDR product
VLDR (usecase 0) at 355 nm
backscatter product
link to column
_error_method_ID
lidar ratio
lidar ratio
link to column
min_BscRatio_for_PLDR
link to column
_backscatter_options_product_ID